[image: image1.png]EITRY v v a1

-_—
—_—
[Svr=)

S G

<Electrode> LEDON LED Off
HGB 18829 = 1.9%5 - 0.114
1.8959 (Temp compensation)
WBC 0.069 (12.7 - 18.3V)
RBC 0.01V (12.7 - 18.39)

<Mano/Reagent>  Upper  Lower
WBC manometer 0.84V 7 124V
RBC manometer 4299 7 1.18v
Diluent 2.419
Lysing reagent 2.299
Withreagent <15V
Without reagent >3.5 V.
<Temperature>
HGB unit 2.0
MC unit 3%.4°C
Power board 24

Adjustment method of the HGB
sensor in the following.

Choose “OTHER” key from “MENU”
screen. After that, choose “SENSOR
MONITOR” function, so that you can
see all sensors’ voltage on the screen.




